## high8
Summary | [7 empty] | Summary | [7 empty] | Summary
Sequence Details | [7 empty] | Sequence Details | [7 empty] | Sequence Details
Name: |  | 2022_KOH_newAS_Feb28_2022 |  |  | Created On: | 2018-05-31 13:24 |  | Name: |  | 2022_KOH_newAS_Feb28_2022 |  |  | Created On: | 2018-05-31 13:24 |  | Name: |  | 2022_KOH_newAS_Feb28_2022 |  |  | Created On: | 2018-05-31 13:24
Directory: |  | Instrument Data\KLOHSEC01737_1\CZO 2018 |  |  | Created By: | klohse |  | Directory: |  | Instrument Data\KLOHSEC01737_1\CZO 2018 |  |  | Created By: | klohse |  | Directory: |  | Instrument Data\KLOHSEC01737_1\CZO 2018 |  |  | Created By: | klohse
Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2022-03-01 16:39 |  | Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2022-03-01 16:39 |  | Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2022-03-01 16:39
No. of Injections: |  | 40 |  |  | Updated By: | klohse |  | No. of Injections: |  | 40 |  |  | Updated By: | klohse |  | No. of Injections: |  | 40 |  |  | Updated By: | klohse
By Component |  | Chloride | [5 empty] | By Component |  | Sulfate | [5 empty] | By Component |  | Nitrate
No. | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type | No. | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type | No. | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | µS*min | µS |  | % |  |  |  | min | µS*min | µS |  | % |  |  |  | min | µS*min | µS |  | %
|  | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 |  |  | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 |  |  | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 | CD_1
|  | Chloride | Chloride | Chloride | Chloride | Chloride | Chloride |  |  | Sulfate | Sulfate | Sulfate | Sulfate | Sulfate | Sulfate |  |  | Nitrate | Nitrate | Nitrate | Nitrate | Nitrate | Nitrate | Chloride | Sulfate | Sulfate | Dilution | Chloride | Sulfate | Sulfate
1 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 | Std 1 | 4.244 | 0.008 | 0.096 | 0.031 | 20.34 | BMB | 4 | Std 1 | 5.671 | 0.006 | 0.043 | 0.038 | 15.67 | MB | 4 | Std 1 | 7.354 | 0.004 | 0.028 | 0.035 | 11.39 | BMB
5 | Std 2 | 4.244 | 0.028 | 0.324 | 0.121 | 23.4 | BMB | 5 | Std 2 | 5.664 | 0.019 | 0.148 | 0.116 | 15.65 | BMB | 5 | Std 2 | 7.354 | 0.014 | 0.093 | 0.117 | 12.07 | BMB
6 | Std 3 | 4.244 | 0.055 | 0.675 | 0.24 | 20.79 | BMB | 6 | Std 3 | 5.664 | 0.039 | 0.303 | 0.237 | 14.64 | BMB | 6 | Std 3 | 7.354 | 0.029 | 0.189 | 0.239 | 11.12 | BMB
7 | Std 4 | 4.251 | 0.232 | 2.889 | 1.014 | 19.31 | BMB | 7 | Std 4 | 5.674 | 0.168 | 1.322 | 1.015 | 13.96 | BMB | 7 | Std 4 | 7.357 | 0.126 | 0.815 | 1.015 | 10.48 | BMB
8 | Std 0 | 4.264 | 0.002 | 0.014 | 0.117 | 6.66 | M * | 8 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 8 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 | Std 4 | 4.244 | 0.236 | 2.922 | 0.968 | 18.92 | BMB | 9 | Std 4 | 5.667 | 0.164 | 1.315 | 1.072 | 13.15 | BMB | 9 | Std 4 | 7.35 | 0.125 | 0.81 | 1.08 | 10.02 | BMB
10 | Std 5 | 4.244 | 0.633 | 7.86 | 2.413 | 19.3 | BMB | 10 | Std 5 | 5.667 | 0.434 | 3.53 | 2.451 | 13.26 | BMB | 10 | Std 5 | 7.347 | 0.326 | 2.147 | 2.449 | 9.93 | BMB
11 | Std 6 | 4.247 | 1.34 | 16.504 | 4.99 | 19.69 | BMB | 11 | Std 6 | 5.667 | 0.933 | 7.577 | 4.988 | 13.7 | BMB | 11 | Std 6 | 7.341 | 0.696 | 4.613 | 4.974 | 10.22 | BMB
12 | Std 7 | 4.241 | 2.194 | 26.763 | 8.099 | 19.72 | BMB | 12 | Std 7 | 5.654 | 1.539 | 12.43 | 8.075 | 13.83 | BMB | 12 | Std 7 | 7.321 | 1.152 | 7.593 | 8.083 | 10.35 | BMB
13 | Std 8 | 4.244 | 0.054 | 0.66 | 0.234 | 20.08 | BMB | 13 | Std 8 | 5.667 | 0.039 | 0.304 | 0.238 | 14.56 | BMB | 13 | Std 8 | 7.357 | 0.03 | 0.192 | 0.246 | 11.38 | BMB
14 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 14 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 14 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
15 | std 5.03 | 4.244 | 1.343 | 16.52 | 4.999 | 19.76 | BMB | 15 | std 5.03 | 5.661 | 0.931 | 7.571 | 4.981 | 13.71 | BMB | 15 | std 5.03 | 7.334 | 0.694 | 4.604 | 4.963 | 10.22 | BMB | -0.006163 | -0.0097416 | -0.01332
16 | std 0.2445 | 4.244 | 0.054 | 0.658 | 0.233 | 20.51 | BMB | 16 | std 0.2445 | 5.667 | 0.038 | 0.301 | 0.235 | 14.71 | BMB | 16 | std 0.2445 | 7.354 | 0.03 | 0.189 | 0.241 | 11.39 | BMB | -0.047035 | -0.038855 | -0.014315
17 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 17 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 17 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
18 | d220216h | 4.247 | 0.24 | 2.954 | 0.983 | 16.06 | BMB | 18 | d220216h | 5.667 | 0.71 | 5.715 | 3.852 | 47.49 | MB | 18 | d220216h | 7.357 | 0.117 | 0.765 | 1.028 | 7.85 | BMB | 0.983 | 4.729 | 1.245
19 | T220216h | 4.244 | 0.345 | 4.265 | 1.367 | 21.61 | BMB | 19 | T220216h | 5.664 | 0.757 | 6.096 | 4.096 | 47.4 | MB | 19 | T220216h | 7.361 | 0.002 | 0.015 | 0.243 | 0.13 | BMB | 1.495 | 5.062 | 0.243
20 | J220216h | 4.244 | 0.562 | 6.954 | 2.156 | 16.44 | BMB | 20 | J220216h | 5.654 | 2.569 | 20.577 | 13.322 | 75.12 | MB | 20 | J220216h | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2.433 | 16.126 | 0.226
21 | O220216h | 4.247 | 2.956 | 35.463 | 10.873 | 20.86 | BMB | 21 | O220216h | 5.614 | 10.424 | 78.893 | 53.336 | 73.58 | MB | 21 | O220216h | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 12.777 | 64.894 | 0.599
22 | O220216h 1:4 | 4.247 | 0.496 | 6.146 | 1.916 | 19.45 | BMB | 22 | O220216h 1:4 | 5.661 | 1.847 | 14.889 | 9.645 | 72.4 | MB | 22 | O220216h 1:4 | 7.364 | 0.006 | 0.039 | 0.269 | 0.24 | BMB | 2.148 | 11.621 | 0.269 |  | 8.592
23 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 23 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 23 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
24 | std 5.03 | 4.241 | 1.339 | 16.467 | 4.987 | 19.56 | BMB | 24 | std 5.03 | 5.661 | 0.928 | 7.551 | 4.965 | 13.55 | BMB | 24 | std 5.03 | 7.334 | 0.691 | 4.585 | 4.94 | 10.09 | BMB | -0.0085487 | -0.012922 | -0.017893
25 | std 0.2445 | 4.244 | 0.053 | 0.655 | 0.232 | 20.35 | BMB | 25 | std 0.2445 | 5.667 | 0.038 | 0.299 | 0.233 | 14.55 | BMB | 25 | std 0.2445 | 7.357 | 0.03 | 0.188 | 0.241 | 11.35 | BMB | -0.051125 | -0.047035 | -0.014315
26 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 26 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 26 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
27 | O220216h_D1:8 | 4.26 | 0.235 | 2.687 | 0.967 | 11.9 | BMB | 27 | O220216h D1:8 | 5.667 | 0.882 | 7.003 | 4.733 | 44.62 | bM * | 27 | O220216h D1:8 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1.029 | 4.733 | n.a. | 8 | 8.232 | 37.864 | NA
28 | O210826hD1:8 | 4.261 | 0.769 | 9.332 | 2.912 | 16.16 | MB | 28 | O210826hD1:8 | 5.661 | 3.365 | 26.625 | 17.38 | 70.66 | BMB | 28 | O210826hD1:8 | 7.374 | 0.009 | 0.058 | 0.289 | 0.19 | BMB | 3.305 | 20.881 | 0.289 | 8 | 26.44 | NA | 2.312
29 | O210826h D1:25 | 4.264 | 0.273 | 3.223 | 1.102 | 16.98 | BMB | 29 | O210826h D1:25 | 5.674 | 1.21 | 9.676 | 6.399 | 75.31 | BMB | 29 | O210826h D1:25 | 7.387 | 0.023 | 0.03 | 0.384 | 1.42 | BMB | 1.184 | 7.642 | 0.384 | 25 | 29.6 | 191.05 | 9.6
30 | S210826hD1:10 | 4.271 | 0.154 | 1.707 | 0.668 | 45.61 | BM | 30 | S210826hD1:10 | 5.687 | 0.036 | 0.275 | 0.42 | 10.64 | Rd | 30 | S210826hD1:10 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 0.668 | 0.222 | n.a. | 10 | 6.68 | 2.22 | NA
31 | J220216hD1:2 | 4.264 | 0.264 | 2.994 | 1.069 | 16.46 | BMB | 31 | J220216hD1:2 | 5.677 | 1.186 | 9.397 | 6.28 | 74.08 | BMB | 31 | J220216hD1:2 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1.155 | 7.499 | 0.021 | 2 | 2.31 | 14.998 | 0.042
32 | R210826h | 4.261 | 0.423 | 4.826 | 1.652 | 54.93 | BM | 32 | R210826h | 5.677 | 0.068 | 0.333 | 0.584 | 8.81 | M | 32 | R210826h | 7.374 | 0.007 | 0.039 | 0.273 | 0.85 | MB | 1.847 | 0.407 | 0.273 | 1 | 1.847 | 0.407 | 0.273
33 | d210826h | 4.261 | 0.317 | 3.544 | 1.264 | 26.52 | BMB | 33 | d210826h | 5.681 | 0.277 | 1.612 | 1.65 | 23.2 | M | 33 | d210826h | 7.377 | 0.008 | 0.029 | 0.281 | 0.65 | MB | 1.384 | 1.683 | 0.281 | 1 | 1.384 | 1.683 | 0.281
34 | T210826h | 4.264 | 0.448 | 5.257 | 1.741 | 30.15 | BMB | 34 | T210826h | 5.677 | 0.143 | 0.624 | 0.966 | 9.62 | M | 34 | T210826h | 7.374 | 0.029 | 0.065 | 0.426 | 1.95 | MB | 2.05 | 0.854 | 0.426 | 1 | 2.05 | 0.854 | 0.426
35 | S210826h | 4.261 | 0.01 | 0.114 | 0.147 | 22.88 | BMB | 35 | S210826h | 5.677 | 0.006 | 0.042 | 0.268 | 13.36 | MB | 35 | S210826h | 7.374 | 0.004 | 0.025 | 0.255 | 8.83 | BMB | 0.147 | 0.039 | 0.255 | 1 | 0.147 | 0.039 | 0.255
36 | O220216 D 1:10 | 4.254 | 0.25 | 2.822 | 1.018 | 19.71 | BMB | 36 | O220216 D 1:10 | 5.667 | 0.899 | 7.16 | 4.817 | 70.98 | BMB | 36 | O220216 D 1:10 | 7.364 | 0.003 | 0.02 | 0.252 | 0.27 | BMB | 1.09 | 5.662 | 0.252 | 10 | 10.9 | 56.62 | NA
37 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 37 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 37 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
38 | std 5.03 | 4.257 | 1.303 | 15.334 | 4.854 | 19.36 | BMB | 38 | std 5.03 | 5.671 | 0.897 | 7.146 | 4.808 | 13.33 | BMB | 38 | std 5.03 | 7.347 | 0.674 | 4.371 | 4.827 | 10.02 | BMB | -0.03499 | -0.044135 | -0.040358
39 | std 0.2445 | 4.254 | 0.055 | 0.608 | 0.24 | 18.85 | BM | 39 | std 0.2445 | 5.674 | 0.041 | 0.289 | 0.25 | 14.01 | M | 39 | std 0.2445 | 7.367 | 0.029 | 0.179 | 0.232 | 9.79 | BMB | -0.018405 | 0.022495 | -0.051125
40 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 40 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 40 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.

## low1
Summary | [7 empty] | Summary | [7 empty] | Summary
Sequence Details | [7 empty] | Sequence Details | [7 empty] | Sequence Details
Name: |  | 2022_KOH_newAS_Feb28_2022 |  |  | Created On: | 2018-05-31 13:24 |  | Name: |  | 2022_KOH_newAS_Feb28_2022 |  |  | Created On: | 2018-05-31 13:24 |  | Name: |  | 2022_KOH_newAS_Feb28_2022 |  |  | Created On: | 2018-05-31 13:24
Directory: |  | Instrument Data\KLOHSEC01737_1\CZO 2018 |  |  | Created By: | klohse |  | Directory: |  | Instrument Data\KLOHSEC01737_1\CZO 2018 |  |  | Created By: | klohse |  | Directory: |  | Instrument Data\KLOHSEC01737_1\CZO 2018 |  |  | Created By: | klohse
Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2022-03-01 16:39 |  | Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2022-03-01 16:39 |  | Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2022-03-01 16:39
No. of Injections: |  | 40 |  |  | Updated By: | klohse |  | No. of Injections: |  | 40 |  |  | Updated By: | klohse |  | No. of Injections: |  | 40 |  |  | Updated By: | klohse
By Component |  | Chloride | [5 empty] | By Component |  | Sulfate | [5 empty] | By Component |  | Nitrate
No. | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type | No. | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type | No. | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | µS*min | µS |  | % |  |  |  | min | µS*min | µS |  | % |  |  |  | min | µS*min | µS |  | %
|  | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 |  |  | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 |  |  | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 | CD_1
|  | Chloride | Chloride | Chloride | Chloride | Chloride | Chloride |  |  | Sulfate | Sulfate | Sulfate | Sulfate | Sulfate | Sulfate |  |  | Nitrate | Nitrate | Nitrate | Nitrate | Nitrate | Nitrate
1 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 | Std 1 | 4.244 | 0.008 | 0.096 | 0.031 | 20.34 | BMB | 4 | Std 1 | 5.671 | 0.006 | 0.043 | 0.038 | 15.67 | MB | 4 | Std 1 | 7.354 | 0.004 | 0.028 | 0.035 | 11.39 | BMB
5 | Std 2 | 4.244 | 0.028 | 0.324 | 0.121 | 23.4 | BMB | 5 | Std 2 | 5.664 | 0.019 | 0.148 | 0.116 | 15.65 | BMB | 5 | Std 2 | 7.354 | 0.014 | 0.093 | 0.117 | 12.07 | BMB
6 | Std 3 | 4.244 | 0.055 | 0.675 | 0.24 | 20.79 | BMB | 6 | Std 3 | 5.664 | 0.039 | 0.303 | 0.237 | 14.64 | BMB | 6 | Std 3 | 7.354 | 0.029 | 0.189 | 0.239 | 11.12 | BMB
7 | Std 4 | 4.251 | 0.232 | 2.889 | 1.014 | 19.31 | BMB | 7 | Std 4 | 5.674 | 0.168 | 1.322 | 1.015 | 13.96 | BMB | 7 | Std 4 | 7.357 | 0.126 | 0.815 | 1.015 | 10.48 | BMB
8 | Std 0 | 4.264 | 0.002 | 0.014 | 0.117 | 6.66 | M * | 8 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 8 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 | Std 4 | 4.244 | 0.236 | 2.922 | 0.968 | 18.92 | BMB | 9 | Std 4 | 5.667 | 0.164 | 1.315 | 1.072 | 13.15 | BMB | 9 | Std 4 | 7.35 | 0.125 | 0.81 | 1.08 | 10.02 | BMB
10 | Std 5 | 4.244 | 0.633 | 7.86 | 2.413 | 19.3 | BMB | 10 | Std 5 | 5.667 | 0.434 | 3.53 | 2.451 | 13.26 | BMB | 10 | Std 5 | 7.347 | 0.326 | 2.147 | 2.449 | 9.93 | BMB
11 | Std 6 | 4.247 | 1.34 | 16.504 | 4.99 | 19.69 | BMB | 11 | Std 6 | 5.667 | 0.933 | 7.577 | 4.988 | 13.7 | BMB | 11 | Std 6 | 7.341 | 0.696 | 4.613 | 4.974 | 10.22 | BMB
12 | Std 7 | 4.241 | 2.194 | 26.763 | 8.099 | 19.72 | BMB | 12 | Std 7 | 5.654 | 1.539 | 12.43 | 8.075 | 13.83 | BMB | 12 | Std 7 | 7.321 | 1.152 | 7.593 | 8.083 | 10.35 | BMB
13 | Std 8 | 4.244 | 0.054 | 0.66 | 0.234 | 20.08 | BMB | 13 | Std 8 | 5.667 | 0.039 | 0.304 | 0.238 | 14.56 | BMB | 13 | Std 8 | 7.357 | 0.03 | 0.192 | 0.246 | 11.38 | BMB
14 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 14 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 14 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
15 | std 5.03 | 4.244 | 1.343 | 16.52 | 4.999 | 19.76 | BMB | 15 | std 5.03 | 5.661 | 0.931 | 7.571 | 4.981 | 13.71 | BMB | 15 | std 5.03 | 7.334 | 0.694 | 4.604 | 4.963 | 10.22 | BMB
16 | std 0.2445 | 4.244 | 0.054 | 0.658 | 0.233 | 20.51 | BMB | 16 | std 0.2445 | 5.667 | 0.038 | 0.301 | 0.235 | 14.71 | BMB | 16 | std 0.2445 | 7.354 | 0.03 | 0.189 | 0.241 | 11.39 | BMB
17 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 17 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 17 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
18 | d220216h | 4.247 | 0.238 | 2.947 | 1.038 | 14.16 | BMB | 18 | d220216h | 5.667 | 0.784 | 5.81 | 4.729 | 46.71 | M | 18 | d220216h | 7.357 | 0.155 | 0.792 | 1.245 | 9.22 | M
19 | T220216h | 4.244 | 0.342 | 4.255 | 1.495 | 18.43 | BMB | 19 | T220216h | 5.664 | 0.839 | 6.203 | 5.062 | 45.23 | M | 19 | T220216h | 7.361 | 0.049 | 0.046 | 0.393 | 2.62 | M
20 | J220216h | 4.244 | 0.556 | 6.937 | 2.433 | 15.34 | BMB | 20 | J220216h | 5.654 | 2.674 | 20.73 | 16.126 | 73.75 | M | 20 | J220216h | 7.354 | 0.028 | 0.04 | 0.226 | 0.77 | M
21 | O220216h | 4.247 | 2.92 | 35.356 | 12.777 | 19.78 | BMB | 21 | O220216h | 5.614 | 10.76 | 79.384 | 64.894 | 72.89 | M | 21 | O220216h | 7.357 | 0.074 | 0.244 | 0.599 | 0.5 | M
22 | O220216h 1:4 | 4.247 | 0.491 | 6.131 | 2.148 | 18.2 | BMB | 22 | O220216h 1:4 | 5.661 | 1.926 | 15.003 | 11.621 | 71.4 | M | 22 | O220216h 1:4 | 7.364 | 0.022 | 0.053 | 0.178 | 0.81 | M
23 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 23 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 23 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
24 | std 5.03 | 4.241 | 1.339 | 16.467 | 4.987 | 19.56 | BMB | 24 | std 5.03 | 5.661 | 0.928 | 7.551 | 4.965 | 13.55 | BMB | 24 | std 5.03 | 7.334 | 0.691 | 4.585 | 4.94 | 10.09 | BMB
25 | std 0.2445 | 4.244 | 0.053 | 0.655 | 0.232 | 20.35 | BMB | 25 | std 0.2445 | 5.667 | 0.038 | 0.299 | 0.233 | 14.55 | BMB | 25 | std 0.2445 | 7.357 | 0.03 | 0.188 | 0.241 | 11.35 | BMB
26 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 26 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 26 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
27 | O220216h D1:8 | 4.26 | 0.235 | 2.687 | 1.029 | 11.9 | BMB | 27 | O220216h D1:8 | 5.667 | 0.882 | 7.003 | 5.325 | 44.62 | bM * | 27 | O220216h D1:8 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
28 | O210826hD1:8 | 4.261 | 0.755 | 9.294 | 3.305 | 15.51 | BMB | 28 | O210826hD1:8 | 5.661 | 3.462 | 26.771 | 20.881 | 71.06 | M | 28 | O210826hD1:8 | 7.374 | 0.01 | 0.06 | 0.08 | 0.2 | MB
29 | O210826h D1:25 | 4.264 | 0.271 | 3.218 | 1.184 | 15.71 | BMB | 29 | O210826h D1:25 | 5.674 | 1.267 | 9.755 | 7.642 | 73.44 | MB | 29 | O210826h D1:25 | 7.387 | 0.03 | 0.031 | 0.245 | 1.76 | BM
30 | S210826hD1:10 | 4.271 | 0.153 | 1.706 | 0.668 | 44.79 | BM | 30 | S210826hD1:10 | 5.687 | 0.036 | 0.276 | 0.222 | 10.61 | Rd | 30 | S210826hD1:10 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
31 | J220216hD1:2 | 4.264 | 0.264 | 2.994 | 1.155 | 15.73 | BM | 31 | J220216hD1:2 | 5.677 | 1.243 | 9.476 | 7.499 | 74.01 | M | 31 | J220216hD1:2 | 7.381 | 0.002 | 0.011 | 0.021 | 0.14 | MB
32 | R210826h | 4.261 | 0.422 | 4.824 | 1.847 | 54.89 | BM | 32 | R210826h | 5.677 | 0.067 | 0.332 | 0.407 | 8.71 | M | 32 | R210826h | 7.374 | 0.007 | 0.039 | 0.055 | 0.86 | MB
33 | d210826h | 4.261 | 0.317 | 3.542 | 1.384 | 26.41 | BMB | 33 | d210826h | 5.681 | 0.279 | 1.612 | 1.683 | 23.24 | M | 33 | d210826h | 7.377 | 0.01 | 0.03 | 0.078 | 0.8 | MB
34 | T210826h | 4.264 | 0.469 | 5.283 | 2.05 | 31.61 | BMB | 34 | T210826h | 5.677 | 0.141 | 0.62 | 0.854 | 9.52 | M | 34 | T210826h | 7.374 | 0.014 | 0.058 | 0.114 | 0.94 | MB
35 | S210826h | 4.261 | 0.01 | 0.114 | 0.043 | 21.37 | BMB | 35 | S210826h | 5.677 | 0.006 | 0.042 | 0.039 | 12.51 | MB | 35 | S210826h | 7.374 | 0.004 | 0.025 | 0.033 | 8.29 | BMB
36 | O220216 D 1:10 | 4.254 | 0.25 | 2.822 | 1.09 | 18.93 | BMB | 36 | O220216 D 1:10 | 5.667 | 0.938 | 7.225 | 5.662 | 71.2 | MB | 36 | O220216 D 1:10 | 7.364 | 0.004 | 0.02 | 0.031 | 0.28 | BMB
37 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 37 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 37 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
38 | std 5.03 | 4.257 | 1.303 | 15.334 | 4.854 | 19.36 | BMB | 38 | std 5.03 | 5.671 | 0.897 | 7.146 | 4.808 | 13.33 | BMB | 38 | std 5.03 | 7.347 | 0.674 | 4.371 | 4.827 | 10.02 | BMB
39 | std 0.2445 | 4.254 | 0.055 | 0.608 | 0.24 | 18.85 | BM | 39 | std 0.2445 | 5.674 | 0.041 | 0.289 | 0.25 | 14.01 | M | 39 | std 0.2445 | 7.367 | 0.029 | 0.179 | 0.232 | 9.79 | BMB
40 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 40 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 40 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.

## Stds
Date | 2022-02-28 |  | User | KAL
1 ) Desired concentrations for standards
Anions | Desired [std 8] | Vol std 8 (ml) | Desired [std 7] | Vol std 7 (ml) | Desired [std 6] | Vol std 6 (ml) | Desired [std 5] | Vol std 5 (ml) | Desired [std 4] | Vol std 4 (ml) | Desired [std 3] | Vol std 3 (ml) | Desired [std 2] | Vol std 2 (ml) | Desired [std 1] | Vol std 1 (ml) | Desired [Std 9] | Vol std 9
F | 10 | 25 | 8 | 50 | 5 | 50 | 2.5 | 100 | 1 | 100 | 0.25 | 200 | 0.125 | 250 | 0.025 | 500 | 20 | 25
Cl | 10 | 25 | 8 | 50 | 5 | 50 | 2.5 | 100 | 1 | 100 | 0.25 | 200 | 0.125 | 250 | 0.025 | 500 | 20 | 25
Nitrite | 10 | 25 | 8 | 50 | 5 | 50 | 2.5 | 100 | 1 | 100 | 0.25 | 200 | 0.125 | 250 | 0.025 | 500 | 20 | 25
Br | 10 | 25 | 8 | 50 | 5 | 50 | 2.5 | 100 | 1 | 100 | 0.25 | 200 | 0.125 | 250 | 0.025 | 500 | 20 | 25
nitrate | 10 | 25 | 8 | 50 | 5 | 50 | 2.5 | 100 | 1 | 100 | 0.25 | 200 | 0.125 | 250 | 0.025 | 500 | 20 | 25
PO4 | 10 | 25 | 8 | 50 | 5 | 50 | 2.5 | 100 | 1 | 100 | 0.25 | 200 | 0.125 | 250 | 0.025 | 500 | 20 | 25
sulfate | 10 | 25 | 8 | 50 | 5 | 50 | 2.5 | 100 | 1 | 100 | 0.25 | 200 | 0.125 | 250 | 0.025 | 500 | 20 | 25
2) Amount of Stock standard to add to volumetrics
Calculation of stock standards additions
0 |  | Anions | Stock std | Vol std 8-add | Vol std 7-add | Vol std 6-add | Vol std 5-add | Vol std 4-add | Vol std 3-add | Vol std 2-add | Vol std 1-add | Vol std 9-add
|  | F | 1000 | 0.25 | 0.4 | 0.25 | 0.25 | 0.1 | 0.05 | 0.03125 | 0.0125 | 0.5
|  | Cl | 1000 | 0.25 | 0.4 | 0.25 | 0.25 | 0.1 | 0.05 | 0.03125 | 0.0125 | 0.5
|  | Nitrite | 1000 | 0.25 | 0.4 | 0.25 | 0.25 | 0.1 | 0.05 | 0.03125 | 0.0125 | 0.5
|  | Br | 1000 | 0.25 | 0.4 | 0.25 | 0.25 | 0.1 | 0.05 | 0.03125 | 0.0125 | 0.5
|  | sulfate | 1000 | 0.25 | 0.4 | 0.25 | 0.25 | 0.1 | 0.05 | 0.03125 | 0.0125 | 0.5
|  | nitrate | 1000 | 0.25 | 0.4 | 0.25 | 0.25 | 0.1 | 0.05 | 0.03125 | 0.0125 | 0.5
|  | PO4 | 1000 | 0.25 | 0.4 | 0.25 | 0.25 | 0.1 | 0.05 | 0.03125 | 0.0125 | 0.5
|  |  | ul | 250 | 400 | 250 | 250 | 100 | 50 | 31.25 | 12.5
3) Actual amount added to volumetrics
|  |  |  | std 8 | std 7 | std 6 | std 5 | std 4 | std 3 | std 2 | std 1 | Std9
|  |  |  | 0.254 | 0.402 | 0.2515 | 0.2503 | 0.1013 | 0.0489 | 0.0299 | 0.0143
4) Actual concentration calculated from stock addition
|  |  |  | std 8 | std 7 | std 6 | std 5 | std 4 | std 3 |  | std 1 | Std 9
|  |  | F | 10.16 | 8.04 | 5.03 | 2.503 | 1.013 | 0.2445 | 0.1196 | 0.0286 | 0
|  |  | Cl | 10.16 | 8.04 | 5.03 | 2.503 | 1.013 | 0.2445 | 0.1196 | 0.0286 | 0
|  |  | Nitrite | 10.16 | 8.04 | 5.03 | 2.503 | 1.013 | 0.2445 | 0.1196 | 0.0286 | 0
|  |  | Br | 10.16 | 8.04 | 5.03 | 2.503 | 1.013 | 0.2445 | 0.1196 | 0.0286 | 0
|  |  | sulfate | 10.16 | 8.04 | 5.03 | 2.503 | 1.013 | 0.2445 | 0.1196 | 0.0286 | 0
|  |  | nitrate | 10.16 | 8.04 | 5.03 | 2.503 | 1.013 | 0.2445 | 0.1196 | 0.0286 | 0
|  |  | PO4 | 10.16 | 8.04 | 5.03 | 2.503 | 1.013 | 0.2445 | 0.1196 | 0.0286 | 0
| Copy into dionex |  |  | Std 1 | Std 2 | Std 3 | Std 4 | Std 4 | Std 5 | Std 6 | Std 7 | Std 8
|  |  | F | 0.0286 | 0.1196 | 0.2445 | 1.013 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16
|  |  | Cl | 0.0286 | 0.1196 | 0.2445 | 1.013 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16
|  |  | Nitrite | 0.0286 | 0.1196 | 0.2445 | 1.013 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16
|  |  | Br | 0.0286 | 0.1196 | 0.2445 | 1.013 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16
|  |  | sulfate | 0.0286 | 0.1196 | 0.2445 | 1.013 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16
|  |  | nitrate | 0.0286 | 0.1196 | 0.2445 | 1.013 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16
|  |  | PO4 | 0.0286 | 0.1196 | 0.2445 | 1.013 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16

## Cal
| Std 1 | Std 2 | Std 3 | Std 4 | Std 5 | Std 6 | Std 7 | Std 8
fluoride | 0.0286 | 0.1196 | 0.2445 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16
chloride | 0.0286 | 0.1196 | 0.2445 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16
Nitrite | 0.0286 | 0.1196 | 0.2445 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16
bromide | 0.0286 | 0.1196 | 0.2445 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16
sulfate | 0.0286 | 0.1196 | 0.2445 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16
nitrate | 0.0286 | 0.1196 | 0.2445 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16
phosphate | 0.0286 | 0.1196 | 0.2445 | 1.013 | 2.503 | 5.03 | 8.04 | 10.16

## Raw
Summary | [7 empty] | Summary | [7 empty] | Summary
Sequence Details | [7 empty] | Sequence Details | [7 empty] | Sequence Details
Name: |  | 2022_KOH_newAS_Feb28_2022 |  |  | Created On: | 2018-05-31 13:24 |  | Name: |  | 2022_KOH_newAS_Feb28_2022 |  |  | Created On: | 2018-05-31 13:24 |  | Name: |  | 2022_KOH_newAS_Feb28_2022 |  |  | Created On: | 2018-05-31 13:24
Directory: |  | Instrument Data\KLOHSEC01737_1\CZO 2018 |  |  | Created By: | klohse |  | Directory: |  | Instrument Data\KLOHSEC01737_1\CZO 2018 |  |  | Created By: | klohse |  | Directory: |  | Instrument Data\KLOHSEC01737_1\CZO 2018 |  |  | Created By: | klohse
Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2022-03-01 16:39 |  | Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2022-03-01 16:39 |  | Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2022-03-01 16:39
No. of Injections: |  | 40 |  |  | Updated By: | klohse |  | No. of Injections: |  | 40 |  |  | Updated By: | klohse |  | No. of Injections: |  | 40 |  |  | Updated By: | klohse
By Component |  | Chloride | [5 empty] | By Component |  | Sulfate | [5 empty] | By Component |  | Nitrate
No. | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type | No. | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type | No. | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | µS*min | µS |  | % |  |  |  | min | µS*min | µS |  | % |  |  |  | min | µS*min | µS |  | %
|  | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 |  |  | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 |  |  | CD_1 | CD_1 | CD_1 | CD_1 | CD_1 | CD_1
|  | Chloride | Chloride | Chloride | Chloride | Chloride | Chloride |  |  | Sulfate | Sulfate | Sulfate | Sulfate | Sulfate | Sulfate |  |  | Nitrate | Nitrate | Nitrate | Nitrate | Nitrate | Nitrate | Chloride | Sulfate | Sulfate | Dilution | Chloride | Sulfate | Sulfate
1 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2 | Blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 3 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 | Std 1 | 4.244 | 0.008 | 0.096 | 0.031 | 20.34 | BMB | 4 | Std 1 | 5.671 | 0.006 | 0.043 | 0.038 | 15.67 | MB | 4 | Std 1 | 7.354 | 0.004 | 0.028 | 0.035 | 11.39 | BMB
5 | Std 2 | 4.244 | 0.028 | 0.324 | 0.121 | 23.4 | BMB | 5 | Std 2 | 5.664 | 0.019 | 0.148 | 0.116 | 15.65 | BMB | 5 | Std 2 | 7.354 | 0.014 | 0.093 | 0.117 | 12.07 | BMB
6 | Std 3 | 4.244 | 0.055 | 0.675 | 0.24 | 20.79 | BMB | 6 | Std 3 | 5.664 | 0.039 | 0.303 | 0.237 | 14.64 | BMB | 6 | Std 3 | 7.354 | 0.029 | 0.189 | 0.239 | 11.12 | BMB
7 | Std 4 | 4.251 | 0.232 | 2.889 | 1.014 | 19.31 | BMB | 7 | Std 4 | 5.674 | 0.168 | 1.322 | 1.015 | 13.96 | BMB | 7 | Std 4 | 7.357 | 0.126 | 0.815 | 1.015 | 10.48 | BMB
8 | Std 0 | 4.264 | 0.002 | 0.014 | 0.117 | 6.66 | M * | 8 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 8 | Std 0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 | Std 4 | 4.244 | 0.236 | 2.922 | 0.968 | 18.92 | BMB | 9 | Std 4 | 5.667 | 0.164 | 1.315 | 1.072 | 13.15 | BMB | 9 | Std 4 | 7.35 | 0.125 | 0.81 | 1.08 | 10.02 | BMB
10 | Std 5 | 4.244 | 0.633 | 7.86 | 2.413 | 19.3 | BMB | 10 | Std 5 | 5.667 | 0.434 | 3.53 | 2.451 | 13.26 | BMB | 10 | Std 5 | 7.347 | 0.326 | 2.147 | 2.449 | 9.93 | BMB
11 | Std 6 | 4.247 | 1.34 | 16.504 | 4.99 | 19.69 | BMB | 11 | Std 6 | 5.667 | 0.933 | 7.577 | 4.988 | 13.7 | BMB | 11 | Std 6 | 7.341 | 0.696 | 4.613 | 4.974 | 10.22 | BMB
12 | Std 7 | 4.241 | 2.194 | 26.763 | 8.099 | 19.72 | BMB | 12 | Std 7 | 5.654 | 1.539 | 12.43 | 8.075 | 13.83 | BMB | 12 | Std 7 | 7.321 | 1.152 | 7.593 | 8.083 | 10.35 | BMB
13 | Std 8 | 4.244 | 0.054 | 0.66 | 0.234 | 20.08 | BMB | 13 | Std 8 | 5.667 | 0.039 | 0.304 | 0.238 | 14.56 | BMB | 13 | Std 8 | 7.357 | 0.03 | 0.192 | 0.246 | 11.38 | BMB
14 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 14 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 14 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
15 | std 5.03 | 4.244 | 1.343 | 16.52 | 4.999 | 19.76 | BMB | 15 | std 5.03 | 5.661 | 0.931 | 7.571 | 4.981 | 13.71 | BMB | 15 | std 5.03 | 7.334 | 0.694 | 4.604 | 4.963 | 10.22 | BMB | -0.006163 | -0.0097416 | -0.01332
16 | std 0.2445 | 4.244 | 0.054 | 0.658 | 0.233 | 20.51 | BMB | 16 | std 0.2445 | 5.667 | 0.038 | 0.301 | 0.235 | 14.71 | BMB | 16 | std 0.2445 | 7.354 | 0.03 | 0.189 | 0.241 | 11.39 | BMB | -0.047035 | -0.038855 | -0.014315
17 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 17 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 17 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
18 | d220216h | 4.247 | 0.24 | 2.954 | 0.983 | 16.06 | BMB | 18 | d220216h | 5.667 | 0.71 | 5.715 | 3.852 | 47.49 | MB | 18 | d220216h | 7.357 | 0.117 | 0.765 | 1.028 | 7.85 | BMB | 0.983 | 4.729 | 1.245
19 | T220216h | 4.244 | 0.345 | 4.265 | 1.367 | 21.61 | BMB | 19 | T220216h | 5.664 | 0.757 | 6.096 | 4.096 | 47.4 | MB | 19 | T220216h | 7.361 | 0.002 | 0.015 | 0.243 | 0.13 | BMB | 1.495 | 5.062 | 0.243
20 | J220216h | 4.244 | 0.562 | 6.954 | 2.156 | 16.44 | BMB | 20 | J220216h | 5.654 | 2.569 | 20.577 | 13.322 | 75.12 | MB | 20 | J220216h | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 2.433 | 16.126 | 0.226
21 | O220216h | 4.247 | 2.956 | 35.463 | 10.873 | 20.86 | BMB | 21 | O220216h | 5.614 | 10.424 | 78.893 | 53.336 | 73.58 | MB | 21 | O220216h | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 12.777 | 64.894 | 0.599
22 | O220216h 1:4 | 4.247 | 0.496 | 6.146 | 1.916 | 19.45 | BMB | 22 | O220216h 1:4 | 5.661 | 1.847 | 14.889 | 9.645 | 72.4 | MB | 22 | O220216h 1:4 | 7.364 | 0.006 | 0.039 | 0.269 | 0.24 | BMB | 2.148 | 11.621 | 0.269 |  | 8.592
23 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 23 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 23 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
24 | std 5.03 | 4.241 | 1.339 | 16.467 | 4.987 | 19.56 | BMB | 24 | std 5.03 | 5.661 | 0.928 | 7.551 | 4.965 | 13.55 | BMB | 24 | std 5.03 | 7.334 | 0.691 | 4.585 | 4.94 | 10.09 | BMB | -0.0085487 | -0.012922 | -0.017893
25 | std 0.2445 | 4.244 | 0.053 | 0.655 | 0.232 | 20.35 | BMB | 25 | std 0.2445 | 5.667 | 0.038 | 0.299 | 0.233 | 14.55 | BMB | 25 | std 0.2445 | 7.357 | 0.03 | 0.188 | 0.241 | 11.35 | BMB | -0.051125 | -0.047035 | -0.014315
26 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 26 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 26 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
27 | O220216h_D1:8 | 4.26 | 0.235 | 2.687 | 0.967 | 11.9 | BMB | 27 | O220216h D1:8 | 5.667 | 0.882 | 7.003 | 4.733 | 44.62 | bM * | 27 | O220216h D1:8 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1.029 | 4.733 | n.a. | 8 | 8.232 | 37.864 | NA
28 | O210826hD1:8 | 4.261 | 0.769 | 9.332 | 2.912 | 16.16 | MB | 28 | O210826hD1:8 | 5.661 | 3.365 | 26.625 | 17.38 | 70.66 | BMB | 28 | O210826hD1:8 | 7.374 | 0.009 | 0.058 | 0.289 | 0.19 | BMB | 3.305 | 20.881 | 0.289 | 8 | 26.44 | NA | 2.312
29 | O210826h D1:25 | 4.264 | 0.273 | 3.223 | 1.102 | 16.98 | BMB | 29 | O210826h D1:25 | 5.674 | 1.21 | 9.676 | 6.399 | 75.31 | BMB | 29 | O210826h D1:25 | 7.387 | 0.023 | 0.03 | 0.384 | 1.42 | BMB | 1.184 | 7.642 | 0.384 | 25 | 29.6 | 191.05 | 9.6
30 | S210826hD1:10 | 4.271 | 0.154 | 1.707 | 0.668 | 45.61 | BM | 30 | S210826hD1:10 | 5.687 | 0.036 | 0.275 | 0.42 | 10.64 | Rd | 30 | S210826hD1:10 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 0.668 | 0.222 | n.a. | 10 | 6.68 | 2.22 | NA
31 | J220216hD1:2 | 4.264 | 0.264 | 2.994 | 1.069 | 16.46 | BMB | 31 | J220216hD1:2 | 5.677 | 1.186 | 9.397 | 6.28 | 74.08 | BMB | 31 | J220216hD1:2 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 1.155 | 7.499 | 0.021 | 2 | 2.31 | 14.998 | 0.042
32 | R210826h | 4.261 | 0.423 | 4.826 | 1.652 | 54.93 | BM | 32 | R210826h | 5.677 | 0.068 | 0.333 | 0.584 | 8.81 | M | 32 | R210826h | 7.374 | 0.007 | 0.039 | 0.273 | 0.85 | MB | 1.847 | 0.407 | 0.273 | 1 | 1.847 | 0.407 | 0.273
33 | d210826h | 4.261 | 0.317 | 3.544 | 1.264 | 26.52 | BMB | 33 | d210826h | 5.681 | 0.277 | 1.612 | 1.65 | 23.2 | M | 33 | d210826h | 7.377 | 0.008 | 0.029 | 0.281 | 0.65 | MB | 1.384 | 1.683 | 0.281 | 1 | 1.384 | 1.683 | 0.281
34 | T210826h | 4.264 | 0.448 | 5.257 | 1.741 | 30.15 | BMB | 34 | T210826h | 5.677 | 0.143 | 0.624 | 0.966 | 9.62 | M | 34 | T210826h | 7.374 | 0.029 | 0.065 | 0.426 | 1.95 | MB | 2.05 | 0.854 | 0.426 | 1 | 2.05 | 0.854 | 0.426
35 | S210826h | 4.261 | 0.01 | 0.114 | 0.147 | 22.88 | BMB | 35 | S210826h | 5.677 | 0.006 | 0.042 | 0.268 | 13.36 | MB | 35 | S210826h | 7.374 | 0.004 | 0.025 | 0.255 | 8.83 | BMB | 0.147 | 0.039 | 0.255 | 1 | 0.147 | 0.039 | 0.255
36 | O220216 D 1:10 | 4.254 | 0.25 | 2.822 | 1.018 | 19.71 | BMB | 36 | O220216 D 1:10 | 5.667 | 0.899 | 7.16 | 4.817 | 70.98 | BMB | 36 | O220216 D 1:10 | 7.364 | 0.003 | 0.02 | 0.252 | 0.27 | BMB | 1.09 | 5.662 | 0.252 | 10 | 10.9 | 56.62 | NA
37 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 37 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 37 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
38 | std 5.03 | 4.257 | 1.303 | 15.334 | 4.854 | 19.36 | BMB | 38 | std 5.03 | 5.671 | 0.897 | 7.146 | 4.808 | 13.33 | BMB | 38 | std 5.03 | 7.347 | 0.674 | 4.371 | 4.827 | 10.02 | BMB | -0.03499 | -0.044135 | -0.040358
39 | std 0.2445 | 4.254 | 0.055 | 0.608 | 0.24 | 18.85 | BM | 39 | std 0.2445 | 5.674 | 0.041 | 0.289 | 0.25 | 14.01 | M | 39 | std 0.2445 | 7.367 | 0.029 | 0.179 | 0.232 | 9.79 | BMB | -0.018405 | 0.022495 | -0.051125
40 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 40 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 40 | blank | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.